## List 1
PICT. | POS. | PART NR | DESCRIZIONE | DESCRIPTION | € | DA/FROM | FINO A/TO | NOTE / NOTES
1 | 1 | 20632318 | STAFFA ESTERNA SOLLEVAMENTO | EXTERIOR BRACKET FOR LIFTING |  |  |  | R/9005
1 | 2 | 20632307 | PANNELLO ESTERNO LATERALE DESTRO | RIGHT INTERNAL SIDE PANEL |  |  |  | R/3000
1 | 3 | 20623004 | STAFFA INTERNA SOLLEVAMENTO | INTERIOR BRACKET FOR LIFTING
1 | 4 | 20622967 | STAFFA RINFORZO LATERALE | STIFFENING SIDE BRACKET
1 | 5 | 20622956 | PANNELLO INTERNO LATERALE | INTERIOR SIDE PANEL
1 | 6 | 20632308 | PANNELLO ESTERNO SUPERIORE | EXTERNAL TOP PANEL |  |  |  | R/3000
1 | 7 | 20622461 | STAFFA SUPPORTO RIPARO | SHIELD SUPPORT BRACKET
1 | 8 | 20622960 | PANNELLO INTERNO SUPERIORIORE | INTERNAL TOP PANEL
1 | 9 | 20632312 | PANNELLO POSTERIORE GABBIA | REAR PANEL FOR CAGE |  |  |  | R/3000 - HER 220Sp
1 | 10 | 20632313 | CORPO SUPERIORE/LATERALE GABBIA | SIDE/TOP BODY FOR CAGE |  |  |  | R/3000 - HER 220Sp
1 | 11 | 20632314 | PANNELLO INGRESSO ARIA | AIR INLET PANEL |  |  |  | ASM R/3000 - HER 220Sp
1 | 12 | 20632311 | CORPO INFERIORE GABBIA | BOTTOM BODY FOR CAGE |  |  |  | R/3000 GABBIA - HER 220Sp
1 | 13 | 20622977 | STAFFA VERTICALE GABBIA CORTA | SHORT VERTICAL BRACKET FOR CAGE |  |  |  | HER 220Sp
1 | 14 | 20622979 | STAFFA LUNGA VERTICALE GABBIA | LONG VERTICAL BRACKET FOR CAGE |  |  |  | HER 220Sp
1 | 15 | 20622975 | STAFFA ORIZZONTALE GABBIA | HORIZONTAL BRACKET FOR CAGE |  |  |  | HER 220Sp
1 | 16 | 20632310 | PANNELLO POSTERIORE VENTILATORE | REAR FAN PANEL |  |  |  | R/3000 - HER 220Sp
1 | 17 | 20020006 | GOMMINO | GASKET |  |  |  | D.19 mm
1 | 18 | 20400131 | MOTORE | ELECTRIC MOTOR |  |  |  | MOT 5,5kW 400/50 132S - HER 220 Sp
1 | 19 | 20260069 | BUSSOLA | BUSH |  |  |  | 2017/38
1 | 20 | 20200098 | VENTILATORE | FAN |  |  |  | BPFM/4-630 - HER 220 Sp
1 | 21 | 20623668 | STAFFA SUPPORTO MOTORE | MOTOR SUPPORT |  |  |  | HER 220Sp
1 | 22 | 20622969 | STAFFA ORIZZONTALE POSTERIORE | HORIZONTAL REAR BRACKET |  |  |  | HER 220Sp
1 | 23 | 20622971 | STAFFA VERTICALE CORTA POSTERIORE | SHORT VERTICAL REAR BRACKET |  |  |  | HER 220Sp
1 | 24 | 20622973 | STAFFA VERTICALE LUNGA POSTERIORE | LONG VERTICAL REAR BRACKET |  |  |  | HER 220Sp
1 | 25 | 20620117 | COPERCHIO ISPEZIONE SCAMBIATORE | INSPECTION COVER |  |  |  | R/3000
1 | 26 | 20060001 | GUARNIZIONE COPERCHIO | COVER GASKET
1 | 27 | 20090046 | CAMERA COMBUSTIONE CON SCAMBIATORE | COMBUSTION CHAMBER W/EXCHANGER
1 | 28 | 20623000 | PANNELLO INTERNO ANTERIORE | INTERNAL FRONT PANEL
1 | 29 | 20632315 | PANNELLO ANTERIORE | FRONT PANEL |  |  |  | R/3000
1 | 30 | 20623664 | PROTEZIONE CORPO INFERIORE | BOTTOM PROTECTION FOR BODY
1 | 31 | 20623658 | STAFFA FISSAGGIO PROTEZIONE CORPO | BRACKET FOR BODY'S PROTECTION
1 | 32 | 20622952 | STAFFA SUPPORTO CAMERA | CHAMBER SUPPORT BRACKET
1 | 33 | 20632309 | CORPO ESTERNO INFERIORE | EXTERNAL BOTTOM BODY
1 | 34A | 20623641 | RINFORZO GUIDA MULETTO | FORK POCKET SUPPORT |  |  |  | HER 220C
1 | 34B | 20622946 | RINFORZO GUIDA MULETTO | FORK POCKET SUPPORT |  |  |  | HER 220 Sp
1 | 35A | 20623639 | GUIDA MULETTO SINISTRA | LEFT FORK POCKET |  |  |  | HER 220C
1 | 35B | 20622948 | GUIDA MULETTO SINISTRA | LEFT FORK POCKET |  |  |  | HER 220Sp
1 | 36A | 20623637 | GUIDA MULETTO DESTRA | RIGHT FORK POCKET |  |  |  | HER 220C
1 | 36B | 20622950 | GUIDA MULETTO DESTRA | RIGHT FORK POCKET |  |  |  | HER 220Sp
1 | 37 | 20230315 | ANELLO FERMARUOTA | LOCKING WHEEL SEEGER
1 | 38 | 20040023 | RUOTA | WHEEL |  |  |  | D.415 x D.25 350 KG SCHIUMATA - FOAM FILLED
1 | 39 | 20623643 | RONDELLA | WASHER |  |  |  | D.65 - Di.26
1 | 40 | 20632317 | ASSALE | AXLE |  |  |  | NERO R/9005 - BLACK R/9005
1 | 41 | 20622954 | STAFFA SUPPORTO RUOTA GIREVOLE | PIVOTING WHEEL SUPPORT
1 | 42 | 20040021 | RUOTA GIREVOLE CON FRENO | PIVOTING WHEEL W/BRAKE |  |  |  | D180x45
1 | 43 | 20610235 | MANIGLIA | HANDLE |  |  |  | R/9005
1 | 44 | 20010069 | MANOPOLA | KNOB |  |  |  | D.60 M8x25
1 | 45 | 20230267 | RONDELLA GREMBIALINA | WASHER |  |  |  | 8x32x2,5 ISO7093
1 | 46 | 20230062 | VITE | SCREW |  |  |  | D.4,8x9,5 ISO7049C15
1 | 47 | 20632358 | PANNELLO ESTERNO LATERALE SINISTRO | LEFT EXTERNAL SIDE PANEL |  |  |  | R/3000
1 | 48 | 20632356 | GABBIA | CAGE |  |  |  | R/3000 - HER 220C
1 | 49 | 20260045 | BUSSOLA CONICA | TAPER BUSH |  |  |  | D.int. 28mm D.95XA2 - HER 220C
1 | 50 | 20260067 | PULEGGIA | PULLEY |  |  |  | Diam. 112 X 2 BUSSOLA 1610 - HER 220C
1 | 51 | 20400117 | MOTORE | MOTOR |  |  |  | 3kW 230V 50Hz 4P H112 B3 - HER 220C
1 | 52 | 20622377 | STAFFA SUPPORTO MOTORE | MOTOR SUPPORT BRACKET |  |  |  | HER 220C
1 | 53 | 20632201 | STAFFA SUPPORTO SERRANDA | AIR DOOR BRACKET |  |  |  | R/3000 - HER 220C
1 | 54 | 20632202 | SERRANDA | AIR DOOR |  |  |  | R/3000 - HER 220C
1 | 55 | 20200019 | VENTILATILATORE CENTRIFUGO | CENTRIFUGAL FAN |  |  |  | BC15/15 - HER 220C
1 | 56 | 20260015 | PULEGGIA | PULLEY |  |  |  | Diam. 180 X 2 BUSSOLA 2012 - HER 220C
1 | 57 | 20260021 | BUSSOLA CONICA | TAPER BUSH |  |  |  | D.int.25mm D.est.70 mm - HER 220C
1 | 58 | 20020057 | CINGHIA TRAPEZOIDALE | V-BELT |  |  |  | AX 54 13 X 1375 - HER 220C
1 | 59 | 20623660 | STAFFA SUPPORTO VENTILATORE | SUPPORT BRACKET FOR FAN |  |  |  | HER 220C
1 | 60 | 20632357 | COPERCHIO ISPEZIONE | INSPECTION COVER |  |  |  | R/3000 HER 220 C
1 | 61 | 20623660 | STAFFA SUPPORTO VENTILATORE | SUPPORT BRACKET FOR FAN |  |  |  | HER 220C
1 | 62 | 20632359 | PANNELLO POSTERIORE | REAR PANEL |  |  |  | R/3000 - HER 220C
1 | 63 | 20622543 | SUPPORTO VERTCALE SX VENTILATORE | LEFT VERTICAL SUPPORT FOR FAN |  |  |  | HER 220C
1 | 64 | 20621211 | STAFFA RINFORZO VENTILATORE | FAN STIFFENING BRACKET |  |  |  | HER 220C
1 | 65 | 20622544 | SUPPORTO VERTICALE DX VENTILATORE | RIGHT VERTICAL SUPPORT FOR FAN |  |  |  | HER 220C
1 | 66 | 20622502 | STAFFA ORIZZONTALE VENTILATORE | HORIZONTAL BRACKET FOR FAN |  |  |  | HER 220C
1 | 67 | 20623666 | RIPARO POSTERIORE | REAR SHIELD
1 | 68 | 20430004 | SPINA CORRENTE | POWER PLUG
1 | 69 | 20480074 | SCATOLA ELETTRICA | ELECTRICAL BOX |  |  |  | IP65 205x220
1 | 70 | 20623740 | SUPPORTO TERMOSTATI | THERMOSTAT SUPPORT
1 | 71 | 20360040 | TERMOSTATO LIMIT | LIMIT THERMOSTAT |  |  |  | 35°C / 85°C
1 | 72 | 20360040 | TERMOSTATO FAN | FAN THERMOSTAT |  |  |  | 35°C / 85°C
1 | 73A | 20320063 | RELE' TERMICO | THERMAL RELAY |  |  |  | 20-24A - HER 220C
1 | 73B | 20320057 | RELE' TERMICO | THERMAL RELAY |  |  |  | 9-12A - HER 220Sp
1 | 74A | 20340019 | CONTATTORE | REMOTE SWITCH |  |  |  | 26A - HER 220C
1 | 74B | 20370010 | CONTATTORE | REMOTE SWITCH |  |  |  | 16A - HER 220Sp
1 | 75A | 20350021 | PORTAFUSIBILE | FUSE HOLDER |  |  |  | 32A 2P 10,3X38 - HER 220C
1 | 75B | 20350017 | PORTAFUSIBILE | FUSE HOLDER |  |  |  | 32A 3P 10,3X38 - HER 220Sp
1 | 76A | 20350024 | FUSIBILE | FUSE |  |  |  | 10X38 400V 25A - HER 220C
1 | 76B | 20350018 | FUSIBILE | FUSE |  |  |  | 10X38 500V 16A AM - HER 220Sp
1 | 77 | 20070045 | SUPPORTO RELE' | RELAY SUPPORT
1 | 78 | 20340015 | MORSETTO | TERMINAL |  |  |  | MA 2,5/5 D2
1 | 79 | 20340016 | MORSETTO | TERMINAL |  |  |  | MA 2,5/5 P 300A
1 | 80 | 20070044 | RELE' | RELAY |  |  |  | 8A 250V
1 | 81 | 20430042 | INVOLUCRO PRESA TERMOSTATO | THERMOSTAT SOCKET CASING
1 | 82 | 20430044 | PRESA TERMOSTATO | THERMOSTAT SOCKET |  |  |  | 4P+T
1 | 83 | 20430045 | SPINA TERMOSTATO | THERMOSTAT PLUG |  |  |  | 4P+T
1 | 84 | 20430043 | INVOLUCRO SPINA TERMOSTATO | THERMOSTAT PLUG CASING
1 | 85 | 20360041 | TERMOSTATO DI SICUREZZA | SAFETY THERMOSTAT
1 | 86 | 20320058 | INTERRUTTORE LUMINOSO | LIGHT SWITCH
1 | 87 | 20320052 | INTERRUTTORE | SWITCH |  |  |  | UNIPOLARE / 1-POLE 3 POS.
1 | 88A | 20480084 | CASSETTA ELETTRICA COMPLETA | COMPLETE ELECTRICAL BOX |  |  |  | HER 220C
1 | 88B | 20480085 | CASSETTA ELETTRICA COMPLETA | COMPLETE ELECTRICAL BOX |  |  |  | HER 220Sp
1 | 89 | 20632166 | STAFFA SUPPORTO CASSETTA ELETTRICA | ELECTRICAL BOARD SUPPORT BRACKET |  |  |  | R/9005
1 | 90 | 20622545 | STAFFA SUPP RIPARO BRUCIAT GASOLIO | DIESEL BURNER SHIELD BRACKET
1 | 91 | 20230293 | AGGANCIO CHIUSURA A LEVA | HOOK FOR CLOSING LEVER
1 | 92 | 20230292 | CHIUSURA A LEVA | CLOSING LEVER
1 | 93 | 20632203 | RIPARO BRUCIATORE GASOLIO | DIESEL BURNER COVER |  |  |  | R/3000
1 | 94 | 20621824 | FERMA VETRINO | INSPECTION GLASS RING
1 | 95 | 20020004 | GUARNIZIONE | GASKET |  |  |  | D. 29X35X2
1 | 96 | 20800019 | VETRINO | INSPECTION GLASS |  |  |  | D.35 mm
1 | 97 | 20060019 | GUARNIZIONE | GASKET |  |  |  | TERMOISOLANTE D.63 mm - THERMO-INSULATING
1 | 98 | 20590015 | BRUCIATORE GASOLIO | DIESEL BURNER |  |  |  | Gulliver RG4S - 3739600
1 | 99 | 20210071 | UGELLO BRUCIATORE GASOLIO | DIESEL BURNER NOZZLE |  |  |  | 4,50 GPH 60 GR. S DANF
1 | 100 | 20632320 | STAFFA SUPPORTO USCITA ARIA | AIR OUTLET BRACKET |  |  |  | R/3000
1 | 101 | 20120121 | RACCORDO "L" | "L" FITTING |  |  |  | 3/8M+3/8F GIREV. 60°
1 | 102A | 20190041 | FILTRO GASOLIO DEAERATORE COMPLETO | COMPLETE TIGER LOOP OIL FILTER
1 | 102B | 20190047 | CARTUCCIA FILTRO | FILTER CARTRIDGE
1 | 103 | 20120001 | RACCORDO "L" | "L" FITTING |  |  |  | L 3/8Mcil.60°+3/8Mcil.
1 | 104 | 20622518 | STAFFA SUPP RIPARO BRUCIAT GASOLIO | DIESEL BURNER SHIELD BRACKET
1 | 105 | 20632316 | SUPPORTO RIPARO BRUCIATORE | BURNER COVER SUPPORT |  |  |  | R/3000
1 | 106 | 20120018 | NIPPLO | NIPPLE |  |  |  | 3/8Mcil.60°+3/8Mcil.60°
1 | 107 | 20230161 | RONDELLA | WASHER |  |  |  | RAME 3/8" 17x22x1.5 - COPPER 3/8" 17x22x1.5
1 | 108 | 20622518 | STAFFA SUPP RIPARO BRUCIAT GASOLIO | DIESEL SHIELD BURNER BRACKET
1 | 109 | 20100018 | RACCORDO | FITTING
1 | 110 | 20100008 | CONTRODADO | NUT |  |  |  | OTTONE 3/8 - BRASS 3/8
1 | 111 | 20650003 | COPERCHIO FILTRO GASOLIO | FILTER COVER
1 | 112 | 20800000 | KIT GUARNIZIONE FILTRO GASOLIO | GASKET KIT
1 | 113 | 20800000 | KIT GUARNIZIONE FILTRO GASOLIO | GASKET KIT
1 | 114 | 20190002 | CARTUCCIA FILTRO GASOLIO | FILTER CARTRIDGE |  |  |  | 100 µm
1 | 115 | 20800000 | KIT GUARNIZIONE PER FILTRO GASOLIO | GASKET KIT
1 | 116 | 20010004 | BICCHIERE FILTRO GASOLIO | FILTER GLASS
1 | 117 | 20190045 | FILTRO GASOLIO COMPLETO | COMPLETE OIL FILTER |  |  |  | 3/8F+3/8F 100 µm
1 | 118 |  | RIPARO BRUCIATORE GAS | GAS BURNER COVER |  |  |  | R/3000
1 | 119 | 20623819 | STAFFA CORTA DX SUPP RIP BRUCIAT GAS
1 | 120 | 20800162 | RAMPA GAS | GAS TRAIN |  |  |  | MBDLE 410 B01-230V
1 | 121 |  | TUBO BRUCIATORE GAS | GAS HOSE |  |  |  | NON COME RICAMBIO????
1 | 122 |  | KIT GPL | GPL KIT
1 | 123 | 20590024 | BRUCIATORE GAS | GAS BURNER |  |  |  | RIELLO BS4
1 | 124 | 20230075 | VITE AUTOPERFORANTE | SCREW |  |  |  | TE 4,8x16 CON FINTARONDELLA
1 | 125 | 20620087 | STAFFA FISSAGGIO BULBI TERMOSTATI | BULB FASTENER
1 | 126 | 20623662 | STAFFA PORTABULBI | BULB SUPPORT BRACKET

## List 2
PICT. | POS. | RIELLO PART NR | PART NR | DESCRIZIONE | DESCRIPTION | € | DA/FROM | FINO A/TO | NOTE / NOTES
2 | 1 | 3007641 | 20800250 | COFANO | COVER
2 | 2 | 3007642 | 20800227 | ORGANO DI TENUTA | PUMP SEAL
2 | 3 | 3007643 | 20800442 | ANELLO OR | O RING
2 | 4 | 3007644 | 20800444 | REGOLATORE | REGULATOR
2 | 5 | 3007645 | 20800247 | ANELLO OR | O RING
2 | 6 | 3007646 |  | ANELLO OR | O RING
2 | 7 | 3007647 |  | ANELLO OR | O RING
2 | 8 | 3007648 | 20800246 | FILTRO | FILTER
2 | 9 | 3007649 | 20800078 | VALVOLA | NEEDLE VALVE |  |  |  | N° SERIE BRUCIATORE ≤ 01114100987
2 | 9 | 3007650 | 20800087 | VALVOLA | NEEDLE VALVE |  |  |  | N° SERIE BRUCIATORE ≥ 01114100988
2 | 10 | 3007651 |  | PIASTRINA | PLATE
2 | 11 | 3007652 |  | ANELLO OR | O RING
2 | 12 | 3007653 |  | FUSIBILE | FUSE
2 | 13 | 3007654 | 20800060 | APPARECCHIATURA 552SE | CONTROL BOX 552SE
2 | 14 | 3007655 | 20800221 | SPINA A 7 POLI | 7 PIN PLUG
2 | 15 | 3007656 |  | PRESA (Motore) | SOCKET (Motor)
2 | 16 | 3007657 | 20800514 | COLLEGAMENTO | LEAD
2 | 17 | 3007658 |  | BOBINA | COIL |  |  |  | N° SERIE BRUCIAT/BURNER SERIAL NR ≤ 01114100987
2 | 17 | 3007659 | 20800422 | BOBINA | COIL |  |  |  | N° SERIE BRUCIAT/BURNER SERIAL NR ≥ 01114100988
2 | 18 | 3007660 | 20800256 | GIUNTO | JOINT
2 | 19 | 3007661 | 20800075 | MANTELLO E POMELLO | SHELL AND KNOB |  |  |  | N° SERIE BRUCIAT/BURNER SERIAL NR ≤ 01114100987
2 | 19 | 3007662 |  | MANTELLO E POMELLO | SHELL AND KNOB |  |  |  | N° SERIE BRUCIAT/BURNER SERIAL NR ≥ 01114100988
2 | 20 | 3007663 |  | TUBO | TUBE
2 | 21 | 3007664 | 20800099 | MOTORE | MOTOR
2 | 22 | 3007665 |  | COPERCHIO | COVER
2 | 23 | 3007666 | 20800234 | STAFFA E VITE | BRACKET AND SCREW
2 | 24 | 3007667 | 20800269 | VETRINO | VIEWING PORT
2 | 25 | 3007668 |  | FOTORESISTENZA | P.E. CELL |  |  |  | N° SERIE BRUCIAT/BURNER SERIAL NR ≤ 01114100999
2 | 25 | 3007669 | 20800096 | FOTORESISTENZA | P.E. CELL |  |  |  | N° SERIE BRUCIAT/BURNER SERIAL NR ≥ 01114101000
2 | 26 | 3007670 | 20800509 | CONVOGLIATORE | SUCTION DUCT
2 | 27 | 3007671 | 20800437 | PORTAUGELLO | NOZZLE HOLDER
2 | 28 | 3007672 | 20800432 | SUPPORTO | SUPPORT
2 | 29 | 3007673 | 20800089 | ELICA | DIFFUSER DISC
2 | 30 | 3007674 | 20800590 | COLLEGAMENTO A.T. | HIGH VOLTAGE LEAD
2 | 31 | 3007675 | 20800081 | GRUPPO ELETTRODI | ELECTRODE ASSEMBLY
2 | 32 | 3007676 | 20800168 | COLLARE | COLLAR
2 | 33 | 3007677 | 20800171 | BOCCAGLIO | BLAST TUBE
2 | 34 | 3007678 | 20800070 | SCHERMO | GASKET
2 | 35 | 3007679 | 20800071 | FLANGIA | FLANGE
2 | 36 | 3007680 |  | REGOLATORE SERRANDA | AIR DAMPER REGULATOR
2 | 37 | 3007681 | 20800170 | SERRANDA | AIR DAMPER
2 | 38 | 3007682 |  | GIRANTE | FAN
2 | 39 | 3007683 |  | REGOLATORE SERRANDA | AIR DAMPER REGULATOR
2 | 40 | 3007684 | 20800092 | MARTINETTO | HYDRAULIC JACK
2 | 41 | 3007685 |  | TUBO | TUBE
2 | 42 | 3007686 |  | RITARDATORE IDRAULICO | HYDRAULIC DELAYNG DEVICE
2 | 43 | 3007687 | 20800090 | CONDENSATORE | CAPACITOR |  |  |  | 6.3 µF
2 | 44 | 3007688 |  | TUBO | TUBE
2 | 45 | 3007689 |  | TUBO | TUBE
2 | 46 | 3007690 | 20800475 | POMPA | PUMP |  |  |  | N° SERIE BRUCIAT/BURNER SERIAL NR ≤ 01114100987
2 | 46 | 3007691 | 20800094 | POMPA | PUMP |  |  |  | N° SERIE BRUCIAT/BURNER SERIAL NR ≥ 01114100988
2 | 47 | 3007692 |  | GUARNIZIONE | SEAL
2 | 48 | 3007693 |  | RACCORDO | CONNECTOR
2 | 49 | 3007694 |  | PERNO | PIN
2 | 50 | 3007695 | 20800061 | TUBO FLESSIBILE | FLEXIBLE OIL LINE
2 | 51 | 3007696 | 20800440 | RACCORDO | CONNECTOR
2 | 52 | 3007697 |  | GUARNIZIONE | SEAL

## List 3
PICT. | POS. | RIELLO PART NR | PART NR | DESCRIZIONE | DESCRIPTION | € | DA/FROM | FINO A/TO | NOTE / NOTES
3 | 1 | 3008496 |  | COFANO | COVER
3 | 2 | 3002971 |  | GRUPPO COLLEGAMENTI | ASSEMBLY CONNECTION
3 | 3 | 3002972 |  | COLLEGAMENTO PRESSOSTATO | PRESSUSE SWITCH CONNECTION
3 | 4 | 3002979 |  | COLLEGAMENTO | LEAD
3 | 5 | 3007982 |  | RACCORDO E TUBETTO | CONNECTOR AND TUBE
3 | 6 | 3007458 |  | VETRINO | VIEWING PORT
3 | 7 | 3007642 |  | COPERCHIO | COVER
3 | 8 | 3008505 |  | STAFFA E VITE | BRACKET AND SCREW
3 | 9 | 3007979 |  | GOMITO | ELBOW
3 | 10 | 3008504 |  | TUBO | TUBE
3 | 11 | 3008501 |  | TAZZA | AIR DIFFUSER
3 | 12 | 3007992 |  | PROLUNGA GOMITO | ELBOW EXTENSION
3 | 13 | 3008503 |  | DISTRIBUTORE | DISTRIBUTOR
3 | 14 | 3007989 |  | COLLEGAMENTO | CONNECTION
3 | 15 | 3007988 |  | SONDA | PROBE
3 | 16 | 3008932 |  | ELETTRODO | ELECTRODE
3 | 17 | 3008506 |  | MOTORE | MOTOR
3 | 18 | 3007454 |  | PRESA MOTORE | MOTOR SOCKET
3 | 19 | 3007265 |  | CAVALLOTTO | U BOLT
3 | 20 | 3008494 |  | GIRANTE | FAN
3 | 21 | 3008552 |  | CONVOGLIATORE | SUCTION DUCT
3 | 22 | 3005447 |  | GRUPPO MISURAZIONE | TEST POINT
3 | 23 | 3008005 |  | ANELLO DI TENUTA | O-RING SEAL
3 | 24 | 3008498 |  | IMBUTO FIAMMA | END CONE
3 | 25 | 3008502 |  | MANICOTTO | MANIFOLD
3 | 26 | 3008500 |  | SCHERMO | GASKET
3 | 27 | 3008493 |  | FLANGIA MOBILE | MOVABLE FLANGE
3 | 28 | 3007648 |  | REGOLATORE SERRANDA | AIR DAMPER REGULATOR
3 | 29 | 3008497 |  | SERRANDA ARIA | AIR DUMPER
3 | 30 | 3008499 |  | CONDENSATORE | CAPACITOR |  |  |  | 8 µF
3 | 32 | 3007444 |  | PRESSOSTATO ARIA | AIR PRESSURRE SWITCH
3 | 33 | 3008017 |  | RACCORDO E TUBETTO | CONNECTOR AND TUBE
3 | 34 | 3002560 |  | GUARNIZIONE | SEAL
3 | 35 | 3002967 |  | APPARECCHIATURA MG569 | CONTROL BOX MG569
3 | 36 | 3008491 |  | COLLEGAMENTO A.T. | HIGH VOLTAGE LEAD
3 | 37 | 3008490 |  | COLLEGAMENTO SONDA | PROBE CONNECTION
3 | 38 | 3006937 |  | SPINA 7 POLI | 7 PIN PLUG